## uXRF
Additional μXRF elemental maps of sections of the HJ uraninite.
Section 1-additional maps found in text
Section 2
Section 3
Section 4 (from sample 2, uXRF only)
Section 5 (from sample 2, uXRF only)
Section 6 (from sample 2, uXRF only)
Section 7 (from sample 2, uXRF only)
Pb
Al
Al
Ca
Fe
Fe
Cu
Pb
Pb
S
U
Al
Ca
Cu
Fe
Pb
S
U
Al
Ca
Cu
Fe
Pb
S
U
Si
Ca
Cu
Fe
Pb
S
U
Si
Al
Ca
Cu
Fe
Pb
S
U
Si
Al
Ca
Cu
Fe
Pb
S
U

## BSE
Additional backscatter electron images of HJ uraninite illustrating areas with secondary mineralization. High z elements (i.e., U) are shown in high contrast (white).
Section 1
Section 4
Section 5
Section 6
Section 7
U
1
2
1
2
U
1
2
3
1
2
3
U
1
2
1
2
U
2
1
1
2
U
1
2
1
2

## EPMA
Concentrations (% m/m) measured via EPMA for sections 1, 2, and 3 of the HJ uraninite as well as a section of the Mistamisk uraninite (Bonhoure et al. 2007, Kish and Cuney 1981) | [17 empty] | Location of EPMA analyses shown by white circles.(Triangles are LA-ICP-MS locations).
Section/Spot | UO2 | PbO | ThO2 | SiO2 | FeO | Al2O3 | MnO | TiO2 | As2O3 | V2O3 | CaO | ZrO2 | K2O | P2O5 | SO3 | Y2O3 | SUM
1-1 | 92.994 | 0.261 | 0 | 0.246 | 0.3 | 0.051 | 0.012 | 0.083 | 0.018 | 0.349 | 2.784 | 0.096 | 0.219 | 0.305 | 0.145 | 0.193 | 98.055
1-2 | 91.72 | 0.366 | 0.003 | 0.308 | 0.358 | 0.021 | 0.023 | 0.075 | 0.015 | 0.372 | 2.777 | 0.032 | 0.217 | 0.339 | 0.012 | 0.156 | 96.795 | Section 1
1-3 | 92.045 | 0.326 | 0.016 | 0.252 | 0.315 | 0.045 | 0.004 | 0.072 | 0.003 | 0.357 | 2.787 | 0.063 | 0.225 | 0.296 | 0.135 | 0.183 | 97.125
1-4 | 91.648 | 0.475 | 0.019 | 0.344 | 0.448 | 0.023 | 0.014 | 0.067 | 0.021 | 0.34 | 2.835 | 0.055 | 0.208 | 0.291 | 0 | 0.184 | 96.973
1-5 | 90.92 | 0.304 | 0 | 0.24 | 0.274 | 0.03 | 0.052 | 0.055 | 0.018 | 0.312 | 2.983 | 0.046 | 0.217 | 0.319 | 0.215 | 0.198 | 96.182
1-6 | 91.505 | 0.262 | 0.011 | 0.272 | 0.283 | 0.025 | 0.025 | 0.06 | 0.005 | 0.337 | 2.919 | 0.045 | 0.201 | 0.323 | 0.157 | 0.189 | 96.619
1-7 | 91.323 | 0.235 | 0 | 0.383 | 0.385 | 0.021 | 0 | 0.06 | 0.029 | 0.421 | 2.867 | 0.043 | 0.214 | 0.406 | 0.012 | 0.151 | 96.549
1-8 | 92.445 | 0.25 | 0.002 | 0.366 | 0.481 | 0.023 | 0.015 | 0.058 | 0.008 | 0.319 | 2.747 | 0.061 | 0.213 | 0.346 | 0 | 0.184 | 97.518
1-9 | 91.355 | 0.493 | 0 | 0.52 | 0.569 | 0.042 | 0.045 | 0.058 | 0 | 0.458 | 2.889 | 0.053 | 0.214 | 0.376 | 0.03 | 0.152 | 97.255
1-10 | 91.775 | 0.284 | 0 | 0.321 | 0.343 | 0.028 | 0.026 | 0.057 | 0 | 0.334 | 2.852 | 0.036 | 0.213 | 0.328 | 0.005 | 0.171 | 96.774
1-11 | 92.755 | 0.233 | 0 | 0.323 | 0.472 | 0.026 | 0.032 | 0.095 | 0.03 | 0.34 | 2.881 | 0.108 | 0.204 | 0.355 | 0 | 0.15 | 98.005
1-12 | 91.869 | 0.266 | 0.024 | 0.297 | 0.338 | 0.03 | 0.026 | 0.067 | 0.025 | 0.353 | 3.019 | 0.057 | 0.217 | 0.426 | 0.015 | 0.207 | 97.237
1-13 | 92.69 | 0.418 | 0 | 0.381 | 0.477 | 0.026 | 0.052 | 0.078 | 0.001 | 0.363 | 2.891 | 0.046 | 0.219 | 0.408 | 0 | 0.166 | 98.217
1-14 | 93.089 | 0.762 | 0 | 0.537 | 0.651 | 0.04 | 0.065 | 0.07 | 0 | 0.384 | 2.644 | 0.068 | 0.217 | 0.367 | 0 | 0.169 | 99.061
1-15 | 91.759 | 0.274 | 0 | 0.314 | 0.454 | 0.025 | 0.061 | 0.093 | 0.02 | 0.355 | 2.866 | 0.081 | 0.213 | 0.401 | 0.07 | 0.199 | 97.185
1-16 | 92.142 | 0.29 | 0 | 0.31 | 0.419 | 0.021 | 0.025 | 0.082 | 0.018 | 0.335 | 2.773 | 0.069 | 0.208 | 0.357 | 0.025 | 0.21 | 97.284
1-17 | 92.629 | 0.269 | 0 | 0.25 | 0.35 | 0.036 | 0.04 | 0.11 | 0.007 | 0.362 | 2.665 | 0.127 | 0.202 | 0.302 | 0.142 | 0.163 | 97.656
1-18 | 91.858 | 0.157 | 0 | 0.225 | 0.244 | 0.053 | 0.045 | 0.13 | 0.018 | 0.288 | 2.499 | 0.084 | 0.207 | 0.49 | 0.352 | 0.248 | 96.899
1-19 | 90.656 | 0.609 | 0.009 | 0.552 | 0.705 | 0.03 | 0.115 | 0.194 | 0.001 | 0.366 | 2.84 | 0.112 | 0.208 | 0.385 | 0 | 0.173 | 96.955
1-20 | 91.581 | 0.242 | 0.027 | 0.259 | 0.259 | 0.034 | 0 | 0.187 | 0.015 | 0.282 | 2.531 | 0.138 | 0.201 | 0.479 | 0.447 | 0.213 | 96.896
1-21 | 90.576 | 0.171 | 0 | 0.188 | 0.226 | 0.026 | 0.056 | 0.33 | 0.034 | 0.288 | 2.929 | 0.166 | 0.21 | 0.357 | 0.395 | 0.22 | 96.173
2-1 | 90.397 | 0.62 | 0.01 | 0.338 | 0.479 | 0.026 | 0.025 | 0.085 | 0.032 | 0.368 | 2.505 | 0.193 | 0.204 | 0.335 | 0.075 | 0.196 | 95.886
2-2 | 91.023 | 0.275 | 0 | 0.267 | 0.376 | 0.025 | 0.005 | 0.108 | 0.028 | 0.34 | 2.663 | 0.269 | 0.202 | 0.325 | 0.087 | 0.187 | 96.18 | Section 2
2-3 | 90.699 | 0.275 | 0.019 | 0.372 | 0.448 | 0.026 | 0.027 | 0.102 | 0.016 | 0.384 | 2.812 | 0.227 | 0.208 | 0.351 | 0 | 0.226 | 96.192
2-4 | 90.442 | 0.32 | 0.006 | 0.374 | 0.443 | 0.032 | 0 | 0.122 | 0.029 | 0.387 | 2.881 | 0.257 | 0.202 | 0.307 | 0.005 | 0.21 | 96.016
2-5 | 91.133 | 0.596 | 0.014 | 0.603 | 0.83 | 0.04 | 0.102 | 0.174 | 0.018 | 0.347 | 2.754 | 0.27 | 0.199 | 0.371 | 0.002 | 0.227 | 97.68
2-6 | 90.094 | 0.339 | 0 | 0.212 | 0.345 | 0.057 | 0.008 | 0.222 | 0.021 | 0.352 | 2.549 | 0.284 | 0.201 | 0.433 | 0.225 | 0.212 | 95.553
2-7 | 90.895 | 0.25 | 0 | 0.332 | 0.325 | 0.028 | 0.067 | 0.197 | 0.011 | 0.387 | 2.737 | 0.232 | 0.21 | 0.289 | 0 | 0.193 | 96.152
2-8 | 91.286 | 0.422 | 0 | 0.573 | 0.655 | 0.043 | 0.071 | 0.093 | 0.016 | 0.369 | 2.961 | 0.208 | 0.205 | 0.351 | 0 | 0.216 | 97.47
2-9 | 91.216 | 0.874 | 0 | 0.824 | 0.682 | 0.145 | 0.127 | 0.127 | 0.004 | 0.375 | 2.395 | 0.236 | 0.216 | 0.355 | 0 | 0.197 | 97.772
2-10 | 90.532 | 0.737 | 0 | 0.569 | 0.764 | 0.042 | 0.11 | 0.098 | 0 | 0.356 | 2.615 | 0.197 | 0.211 | 0.408 | 0.012 | 0.196 | 96.847
2-11 | 91.14 | 0.364 | 0.01 | 0.347 | 0.499 | 0.026 | 0.075 | 0.083 | 0.015 | 0.368 | 2.714 | 0.162 | 0.211 | 0.28 | 0 | 0.169 | 96.463
2-12 | 91.013 | 0.223 | 0 | 0.308 | 0.316 | 0.021 | 0.014 | 0.102 | 0 | 0.4 | 2.674 | 0.244 | 0.196 | 0.357 | 0.045 | 0.207 | 96.121
2-13 | 91.472 | 0.475 | 0 | 0.385 | 0.484 | 0.032 | 0.032 | 0.043 | 0.003 | 0.391 | 2.61 | 0.163 | 0.208 | 0.337 | 0.045 | 0.213 | 96.894
2-14 | 91.723 | 0.791 | 0 | 0.655 | 0.7 | 0.053 | 0.125 | 0.062 | 0.005 | 0.409 | 2.499 | 0.196 | 0.206 | 0.378 | 0 | 0.235 | 98.036
2-15 | 92.334 | 0.278 | 0.013 | 0.334 | 0.376 | 0.028 | 0.061 | 0.075 | 0.009 | 0.387 | 2.633 | 0.184 | 0.198 | 0.314 | 0.007 | 0.225 | 97.455
2-16 | 92.305 | 0.267 | 0 | 0.229 | 0.389 | 0.023 | 0.044 | 0.083 | 0.021 | 0.355 | 2.362 | 0.185 | 0.188 | 0.254 | 0.097 | 0.224 | 97.025
2-17 | 90.861 | 0.801 | 0 | 0.715 | 0.7 | 0.059 | 0.092 | 0.073 | 0 | 0.49 | 2.418 | 0.247 | 0.196 | 0.392 | 0.012 | 0.212 | 97.268
2-18 | 91.231 | 0.805 | 0 | 0.7 | 0.709 | 0.057 | 0.115 | 0.07 | 0.012 | 0.494 | 2.428 | 0.277 | 0.193 | 0.403 | 0 | 0.237 | 97.73
2-19 | 92.072 | 0.789 | 0 | 0.642 | 0.705 | 0.053 | 0.097 | 0.07 | 0 | 0.44 | 2.373 | 0.244 | 0.195 | 0.373 | 0 | 0.207 | 98.261
2-20 | 92.278 | 0.5 | 0.022 | 0.573 | 0.714 | 0.036 | 0.076 | 0.058 | 0.011 | 0.393 | 2.688 | 0.203 | 0.19 | 0.373 | 0 | 0.24 | 98.355
2-21 | 90.975 | 0.304 | 0.016 | 0.188 | 0.336 | 0.023 | 0.039 | 0.087 | 0.016 | 0.353 | 2.331 | 0.203 | 0.194 | 0.357 | 0.177 | 0.249 | 95.848
3-1 | 92.644 | 0.472 | 0 | 0.434 | 0.486 | 0.036 | 0.071 | 0.148 | 0.003 | 0.425 | 2.884 | 0.049 | 0.213 | 0.378 | 0.002 | 0.155 | 98.401
3-2 | 91.38 | 0.263 | 0.031 | 0.203 | 0.295 | 0.03 | 0.018 | 0.097 | 0.022 | 0.319 | 2.954 | 0.089 | 0.208 | 0.319 | 0.095 | 0.189 | 96.512 | Section 3
3-3 | 91.207 | 0.463 | 0 | 0.28 | 0.373 | 0.043 | 0.039 | 0.11 | 0.004 | 0.369 | 2.86 | 0.078 | 0.222 | 0.298 | 0.185 | 0.169 | 96.7
3-4 | 91.425 | 0.351 | 0.014 | 0.19 | 0.275 | 0.068 | 0.072 | 0.118 | 0.017 | 0.312 | 2.817 | 0.097 | 0.217 | 0.335 | 0.247 | 0.189 | 96.745
3-5 | 90.223 | 0.419 | 0 | 0.349 | 0.377 | 0.051 | 0.035 | 0.262 | 0.015 | 0.43 | 2.737 | 0.091 | 0.214 | 0.357 | 0.15 | 0.138 | 95.847
3-6 | 90.561 | 0.709 | 0 | 0.682 | 0.787 | 0.042 | 0.079 | 1.158 | 0.015 | 0.306 | 2.443 | 0.307 | 0.21 | 0.467 | 0 | 0.104 | 97.869
3-7 | 91.968 | 0.756 | 0 | 0.618 | 0.656 | 0.051 | 0.103 | 0.052 | 0.008 | 0.435 | 2.491 | 0.062 | 0.192 | 0.396 | 0.02 | 0.182 | 97.99
3-8 | 91.992 | 0.654 | 0 | 0.539 | 0.684 | 0.042 | 0.115 | 0.055 | 0 | 0.422 | 2.677 | 0.051 | 0.186 | 0.378 | 0 | 0.192 | 97.986
3-9 | 90.999 | 0.836 | 0.026 | 0.71 | 0.69 | 0.06 | 0.128 | 0.078 | 0.026 | 0.446 | 2.482 | 0.027 | 0.192 | 0.424 | 0.007 | 0.141 | 97.273
3-10 | 92.695 | 0.73 | 0 | 0.546 | 0.643 | 0.043 | 0.103 | 0.07 | 0.009 | 0.419 | 2.565 | 0.059 | 0.194 | 0.364 | 0.01 | 0.159 | 98.611
3-11 | 92.052 | 0.283 | 0 | 0.182 | 0.289 | 0.123 | 0.085 | 0.058 | 0.012 | 0.284 | 2.498 | 0.081 | 0.208 | 0.357 | 0.262 | 0.211 | 96.986
3-12 | 91.315 | 0.193 | 0 | 0.22 | 0.265 | 0.032 | 0.005 | 0.063 | 0 | 0.318 | 2.559 | 0.053 | 0.189 | 0.465 | 0.212 | 0.235 | 96.125
3-13 | 92.369 | 0.266 | 0 | 0.4 | 0.495 | 0.03 | 0.048 | 0.083 | 0.009 | 0.384 | 2.621 | 0.046 | 0.196 | 0.417 | 0 | 0.174 | 97.539
3-14 | 91.652 | 0.275 | 0 | 0.278 | 0.337 | 0.03 | 0.015 | 0.085 | 0.007 | 0.347 | 2.699 | 0.082 | 0.198 | 0.36 | 0.025 | 0.163 | 96.552
M1 | 79.094 | 13.525 | 0.127 | 0.443 | 0.304 | 0.023 | 0.148 | 0.06 | 0 | 0 | 1.743 | 0.035 | 0.204 | 0 | 0 | 0.846 | 96.552
M2 | 83.124 | 8.692 | 0.101 | 0.285 | 0.502 | 0.011 | 0.16 | 0.05 | 0 | 0 | 2.464 | 0.022 | 0.202 | 0 | 0 | 0.946 | 96.559
M3 | 80.185 | 11.991 | 0.206 | 0.289 | 0.485 | 0.013 | 0.229 | 0.052 | 0 | 0 | 2.316 | 0.062 | 0.205 | 0 | 0 | 0.924 | 96.957
M4 | 76.978 | 14.655 | 0.047 | 0.276 | 0.489 | 0.051 | 0.117 | 0.058 | 0 | 0 | 1.731 | 0.061 | 0.189 | 0 | 0 | 0.968 | 95.62
M5 | 78.66 | 13.411 | 0.057 | 0.225 | 0.515 | 0.026 | 0.13 | 0.058 | 0 | 0 | 1.95 | 0.053 | 0.187 | 0.002 | 0 | 0.971 | 96.247
M6 | 76.699 | 15.924 | 0.028 | 0.235 | 0.376 | 0.087 | 0.067 | 0.057 | 0 | 0 | 1.121 | 0.076 | 0.177 | 0 | 0 | 0.951 | 95.798
M7 | 78.193 | 12.948 | 0.051 | 0.257 | 0.548 | 0.021 | 0.134 | 0.075 | 0.011 | 0 | 2.04 | 0.032 | 0.184 | 0 | 0 | 0.984 | 95.479
M8 | 77.83 | 12.304 | 0.114 | 0.516 | 0.533 | 0.019 | 0.212 | 0.05 | 0 | 0 | 2.251 | 0.041 | 0.193 | 0 | 0 | 0.982 | 95.043
M9 | 76.065 | 14.04 | 0.104 | 0.364 | 0.374 | 0.047 | 0.2 | 0.047 | 0.001 | 0 | 1.588 | 0.035 | 0.166 | 0 | 0 | 0.9 | 93.932
M10 | 77.729 | 13.705 | 0.272 | 0.509 | 0.524 | 0.045 | 0.241 | 0.055 | 0.015 | 0 | 1.83 | 0.031 | 0.183 | 0.007 | 0 | 0.832 | 95.978
M11 | 77.551 | 14.153 | 0.106 | 0.297 | 0.259 | 0.017 | 0.099 | 0.067 | 0 | 0 | 1.272 | 0.072 | 0.187 | 0 | 0 | 1.054 | 95.133
M12 | 76.734 | 14.797 | 0.247 | 0.498 | 0.408 | 0.021 | 0.154 | 0.058 | 0 | 0 | 1.455 | 0.039 | 0.17 | 0 | 0 | 0.749 | 95.331
M13 | 77.511 | 15.721 | 0.217 | 0.436 | 0.32 | 0.021 | 0.139 | 0.06 | 0.001 | 0 | 1.202 | 0.077 | 0.164 | 0 | 0 | 0.749 | 96.62
M14 | 79.638 | 9.811 | 0.231 | 0.546 | 0.729 | 0.068 | 0.362 | 0.06 | 0 | 0 | 2.629 | 0.076 | 0.179 | 0.009 | 0 | 1.05 | 95.389
M15 | 77.81 | 13.22 | 0.052 | 0.64 | 0.457 | 0.111 | 0.221 | 0.057 | 0.017 | 0 | 1.78 | 0.068 | 0.179 | 0 | 0 | 1.053 | 95.665
M16 | 76.741 | 14.892 | 0.231 | 0.396 | 0.394 | 0.023 | 0.152 | 0.055 | 0 | 0 | 1.331 | 0.031 | 0.165 | 0 | 0 | 0.782 | 95.193

## LA-ICP-MS
Concentrations (μg g-1) measured via LA-ICP-MS for sections 1, 2, and 3 of the HJ uraninite as well as a section of the Mistamisk uraninite (Bonhoure et al. 2007, Kish and Cuney 1981) obtained during this work.
Element | 1-1 | 1-2 | 1-3 | 1-4 | 1-5 | 1-6 | 1-7 | 1-8 | 1-9 | 1-10 | 1-11 | 1-12 | 1-13 | 1-14 | 1-15 | 1-16 | 1-17 | 1-18 | 1-19 | 1-20 | 1-21 | 2-1 | 2-2 | 2-3 | 2-4 | 2-5 | 2-6 | 2-7 | 2-8 | 2-9 | 2-10 | 2-11 | 2-12 | 2-13 | 2-14 | 2-15 | 3-1 | 3-2 | 3-3 | 3-4 | 3-5 | 3-6 | 3-7 | 3-8 | 3-9 | 3-10 | 3-11 | M1 | M2 | M3 | M4 | M5 | M6 | M7 | M8 | M9 | M10 | M11 | M12 | M13 | M14 | M15 | M16 | M17 | M18 | M19 | M20
Sc | 358.62 | 363.15 | 363.33 | 370.34 | 360.86 | 368.57 | 344.19 | 359.37 | 339.3 | 328.15 | 392.06 | 347.61 | 360.64 | 364.79 | 388.97 | 328.4 | 380.02 | 335.14 | 357.35 | 349.23 | 349.97 | 492.44 | 491.81 | 492.43 | 491.89 | 466.41 | 509.72 | 502.85 | 515.54 | 518.54 | 494.65 | 541.33 | 524.54 | 512.28 | 499 | 537.36 | 380.35 | 364.69 | 391.44 | 381.67 | 376.42 | 381.18 | 342.36 | 357.13 | 380.71 | 367.39 | 336.47 | 14.49 | 0.727 | 11.89 | 9.91 | 12.59 | 11.32 | 17.86 | 16.79 | 10.03 | 12.26 | 10.23 | 9.09 | 1.494 | 7.39 | 15.79 | 7.15 | 13.17 | 8.79 | 12.98 | 14.03
Ti | 2.76 | 4.45 | 3.73 | <2.95 | <2.61 | 3.79 | 3.08 | 11.15 | 5.99 | 8.41 | <2.86 | 9.48 | 15.32 | 30.42 | 26.19 | 47.7 | 94.93 | 59.58 | 68.96 | 71.65 | 77.77 | 130.6 | 251.45 | 312.83 | 161.81 | 159.48 | 214.37 | 284.24 | 328.59 | 354 | 281.14 | 133.71 | 78.47 | 96.17 | 218.91 | 177.55 | 3.24 | 2.69 | 4.22 | 6.8 | 5.95 | 6.41 | 5.19 | 6.31 | 13.26 | 193.21 | 379.73 | 16.05 | <1.10 | 13.65 | 21.74 | 18.72 | 16.28 | 26.4 | 22.22 | 20.22 | 17.56 | 17.65 | 10.48 | 8.4 | 8.3 | 14.12 | 14.6 | 22.17 | 9.06 | 11.52 | 18.66
Cr | 8.3 | 4.93 | 3.57 | 6.03 | 6.3 | 5.65 | 3.4 | 7.61 | 6.68 | 7.82 | 8.93 | 5.48 | 6.58 | 7.17 | 8.16 | 6.4 | 9.96 | 6.63 | 6.44 | 6.67 | 7.24 | 9.15 | 12.73 | 11.19 | 9.58 | 11.37 | 11.64 | 9.93 | 13.35 | 10.44 | 11.54 | 8.23 | 9.72 | 9.86 | 10.64 | 13.3 | 6.96 | 6.47 | 9.14 | <2.12 | 8.37 | 9.47 | 8.52 | 7.36 | 10.37 | 11.39 | 8 | <2.23 | <1.39 | <1.40 | <1.17 | <1.40 | <1.31 | <1.51 | <1.42 | <1.31 | <1.66 | <1.17 | <1.08 | <1.10 | <1.02 | <2.52 | <1.71 | <1.89 | <1.11 | <1.50 | <1.66
Mn | 264.76 | 272.1 | 190.02 | 546.83 | 232.83 | 523.89 | 257.53 | 458.58 | 174.84 | 114.57 | 174.94 | 342.66 | 397.06 | 310.74 | 383.18 | 175.6 | 154.07 | 172.73 | 149.56 | 160.18 | 135.14 | 371.55 | 439.45 | 442.36 | 265.61 | 336.85 | 316.93 | 444.02 | 602.01 | 673.3 | 529.52 | 339.87 | 393.32 | 358.91 | 654.79 | 526.3 | 570.85 | 401.42 | 480.6 | 249.01 | 235.9 | 177.25 | 150.38 | 168.52 | 471.45 | 473.37 | 238.16 | 824.68 | 1641.14 | 1192.98 | 1084.41 | 1306.54 | 1031.55 | 870.43 | 1133.78 | 1330.43 | 982.36 | 1185.59 | 1209.47 | 979.06 | 929.39 | 1090.62 | 991.56 | 697.82 | 1076.66 | 1252.34 | 1088.51
Co | 0.225 | 0.447 | <0.117 | 0.207 | 0.232 | 0.281 | 0.17 | 1.52 | 0.832 | <0.116 | 1.5 | <0.155 | 0.911 | 1.451 | 0.674 | <0.126 | 1.434 | <0.125 | 0.419 | 0.407 | 0.611 | 1.04 | 25.12 | 0.883 | 7.37 | 2.002 | 0.423 | 0.922 | 0.254 | <0.124 | 0.238 | 0.639 | 8.96 | 3.13 | <0.123 | 0.836 | 0.904 | 0.86 | 0.797 | 0.329 | 0.121 | 1.253 | <0.079 | 0.402 | 0.966 | 1.8 | 0.749 | 2.88 | 4.42 | 3.85 | 3.83 | 4.55 | 3.75 | 4 | 4.06 | 4.25 | 4.53 | 3.94 | 3.19 | 3.9 | 4.64 | 3.31 | 6.86 | 1.358 | 3.5 | 4.07 | 4.79
Ni | <2.62 | <2.92 | <3.80 | <5.41 | <4.80 | <5.09 | <4.63 | <4.25 | <3.69 | <3.65 | <5.33 | <5.20 | <4.95 | <5.63 | <5.95 | <4.08 | <4.45 | <4.11 | <4.12 | <4.18 | <3.19 | <5.28 | 6.17 | <4.89 | <4.66 | <4.01 | <4.85 | <5.35 | <5.01 | <5.08 | <4.61 | <5.62 | <4.36 | <3.89 | <5.13 | <5.05 | <3.05 | <2.54 | <3.38 | <3.46 | <3.22 | <3.20 | <3.41 | <3.35 | <3.60 | <3.72 | <3.35 | <2.43 | <1.54 | <1.62 | <1.37 | <1.69 | <1.60 | <1.88 | <1.83 | <1.69 | <2.22 | <1.58 | <1.47 | 2241.2 | 5.55 | <3.48 | 491.9 | <2.65 | <1.56 | <2.16 | <2.38
Cu | <0.31 | <0.33 | <0.37 | 828.61 | 0.49 | 482.33 | 32.33 | 5.68 | 5 | <0.37 | <0.58 | <0.50 | <0.48 | 0.63 | 10.55 | <0.40 | <0.44 | <0.41 | <0.41 | <0.42 | <0.32 | 11635.75 | 6376.83 | 31.09 | 17586.54 | 18615.37 | 7.47 | 212.29 | 1.94 | 0.75 | 87.25 | <0.46 | 21030.23 | 16788.9 | <0.43 | 65.28 | 3.56 | 183.58 | 0.78 | <0.31 | 1.59 | <0.29 | <0.32 | <0.36 | 6.87 | 391.37 | <0.41 | <0.29 | <0.185 | <0.191 | <0.162 | <0.198 | <0.186 | <0.215 | <0.208 | <0.188 | <0.25 | <0.161 | <0.150 | 0.181 | <0.146 | <0.36 | 0.8 | <0.28 | <0.166 | <0.23 | <0.25
Zn | 24.05 | 28.59 | 10.64 | 21.35 | 26.53 | 19.57 | 27.2 | 35.87 | 19.54 | 7.79 | 64.78 | 2.61 | 21.02 | 25.65 | 31.3 | 2.09 | 46.94 | 2.06 | 34.98 | 23.16 | 29.92 | 35.43 | 36.37 | 24.33 | 36.51 | 20.39 | 13.95 | 25.21 | 32.04 | 7.45 | 174.87 | 19.95 | 25.8 | 25.16 | 2.7 | 22.16 | 23.22 | 24.98 | 23.05 | 11.54 | 23.46 | 44.14 | 3.42 | 13.52 | 25.98 | 34.57 | 28.86 | 6.69 | 1.99 | 2.51 | 2.62 | 2.22 | 2.51 | 2.77 | 3.12 | 0.751 | 4.91 | 1.72 | 0.553 | 42.32 | 1.25 | 6 | 12.96 | 5.33 | 1.47 | 2.73 | 4.73
Ga | 7.82 | 31.47 | 20 | 13.21 | 12.79 | 12.57 | 10.51 | 25.34 | 39.9 | 48.04 | 25.94 | 8.25 | 26.3 | 67.64 | 11.38 | 8.19 | 15.21 | 17.1 | 11.98 | 44.59 | 13.93 | 39.72 | 22.83 | 23.98 | 48.74 | 10.56 | 17.27 | 29.43 | 17.16 | 10.3 | 12.55 | 14.86 | 20.54 | 20.28 | 7.55 | 14.71 | 13.54 | 27.42 | 48.97 | 13.53 | 25.83 | 33.97 | 12.6 | 14.21 | 42.26 | 35.28 | 80.17 | 9.28 | 5.49 | 3.67 | 2.82 | 2.95 | 2.43 | 10.71 | 3.15 | 3.08 | 16.36 | 7.16 | 2.11 | 2.9 | 3.24 | 3.04 | 3.03 | 3.78 | 3.49 | 2.84 | 3.68
Rb | 0.282 | 0.195 | <0.177 | <0.25 | <0.225 | <0.24 | <0.219 | <0.203 | <0.177 | <0.177 | <0.26 | <0.228 | <0.217 | <0.25 | <0.26 | <0.180 | <0.197 | <0.183 | <0.184 | <0.188 | <0.143 | 0.544 | 0.872 | 0.827 | 0.536 | 0.524 | 0.509 | 0.706 | 1.027 | 0.82 | 0.774 | 0.485 | 0.464 | 0.532 | 1.131 | 1.291 | 0.572 | 0.547 | 0.687 | 0.509 | 0.506 | 0.503 | 0.508 | 0.481 | 0.518 | 0.493 | 0.468 | 3.08 | 0.928 | 1.92 | 1.94 | 1.93 | 1.554 | 1.89 | 1.8 | 1.449 | 1.85 | 1.472 | 1.204 | 0.921 | 1.099 | 2.24 | 1.413 | 2.21 | 1.4 | 1.443 | 2.06
86Sr | 284.59 | 269.08 | 298.16 | 168.97 | 259.11 | 175.33 | 240.51 | 187.08 | 243.36 | 319.65 | 215.47 | 219.64 | 195.9 | 220.12 | 182.42 | 384.57 | 209.38 | 343.23 | 268.06 | 302.41 | 267.59 | 219.93 | 183.7 | 186.57 | 252.79 | 321.97 | 216.86 | 182.53 | 175.79 | 155.03 | 168.78 | 213.29 | 223.17 | 225.8 | 131.88 | 155.56 | 152.73 | 202.91 | 175.9 | 289.59 | 301.36 | 259.52 | 414.62 | 372.76 | 202.38 | 207.44 | 269.09 | 65.44 | 71.92 | 49.18 | 52.71 | 50.84 | 46.52 | 64.91 | 46.09 | 45.86 | 84.7 | 101.05 | 58.37 | 153.06 | 71.87 | 56.33 | 81.89 | 55.31 | 63.7 | 47.47 | 60.34
88Sr | 284.63 | 463.4 | 299.84 | 166.26 | 251.48 | 167.45 | 238.87 | 187.51 | 246.28 | 319.74 | 212.43 | 222.79 | 199.75 | 221.09 | 184.15 | 380.42 | 213.24 | 342.46 | 272.35 | 306.01 | 265.6 | 221.12 | 186.12 | 183.09 | 246.83 | 321.2 | 217.87 | 187.34 | 174.76 | 156.29 | 169.37 | 211 | 219.68 | 221.95 | 130.24 | 153.86 | 149.82 | 199.78 | 171.56 | 287.86 | 303.33 | 266.31 | 415.84 | 368.71 | 198.48 | 203.07 | 263.63 | 52.82 | 69.12 | 39.19 | 44.98 | 44.23 | 41.07 | 56.23 | 38.35 | 39.52 | 76.46 | 94.65 | 53.71 | 150.8 | 68.64 | 45.62 | 76.22 | 45.47 | 58.82 | 41.55 | 50.73
Y | 1287 | 1361.82 | 1278.29 | 1317.11 | 1264.61 | 1320.93 | 1232.26 | 1720.1 | 1309.96 | 1172.85 | 1541.61 | 1342.92 | 1506.9 | 1601.7 | 1427.24 | 1230.86 | 1477.63 | 1244.25 | 1322.09 | 1366.31 | 1299.1 | 1684.31 | 1763.59 | 1749.23 | 1708.8 | 1626.28 | 1783.15 | 1768 | 1794.9 | 1856.37 | 1739.69 | 1912.27 | 1776.63 | 1769.63 | 1734.94 | 1887.98 | 1509.86 | 1493.04 | 1456.16 | 1404.81 | 1397.83 | 1565.2 | 1331.05 | 1388.88 | 1582.98 | 1565.96 | 1375.16 | 12980.32 | 2328.45 | 9011.08 | 7563.08 | 8504.71 | 7312.97 | 8631.68 | 8816.04 | 7216.41 | 9150.76 | 6291.99 | 6118.87 | 3746.19 | 5132.73 | 11083.41 | 6224.56 | 11355.73 | 6715.73 | 7810.9 | 10946.75
Zr | 437.21 | 444.34 | 413.47 | 421.03 | 404 | 435.19 | 394.56 | 611.47 | 462.89 | 416.91 | 464.35 | 477.36 | 596.9 | 610.2 | 615.47 | 522.14 | 673.77 | 530.55 | 575.83 | 571.24 | 592.16 | 1811.9 | 1793.62 | 1871.44 | 1659.17 | 1589.24 | 1693.3 | 1871.19 | 2117.64 | 2139.02 | 1848.45 | 1982.5 | 1581.52 | 1628.61 | 2232.82 | 2243.67 | 495.7 | 452.58 | 472.98 | 496.39 | 475.94 | 516.38 | 454.52 | 474.68 | 587.69 | 720.94 | 629.95 | 690.77 | 24.25 | 370.13 | 210.96 | 335.74 | 247.49 | 325.94 | 85.12 | 268.94 | 434.17 | 281.86 | 354.14 | 30.68 | 236.91 | 648.38 | 206.96 | 651.13 | 306.8 | 274.48 | 401.03
Nb | 3.19 | 3.26 | 2.92 | 2.82 | 2.77 | 2.88 | 2.58 | 4.1 | 3.53 | 3.31 | 3.01 | 3.67 | 4.05 | 4.67 | 4.71 | 4.07 | 5.46 | 4.31 | 4.71 | 4.5 | 4.74 | 11.19 | 11.19 | 11.53 | 10.9 | 9.31 | 10.92 | 11.24 | 13.11 | 13.62 | 11.73 | 12.63 | 10.63 | 10.35 | 14.65 | 14.92 | 2.453 | 2.214 | 2.391 | 3.54 | 3.28 | 3.5 | 3.2 | 3.3 | 4.05 | 5.43 | 5.04 | 2.365 | 0.008 | 2.435 | 3.58 | 2.83 | 2.573 | 6.62 | 3.87 | 3.7 | 2.7 | 2.395 | 1.662 | 0.296 | 1.465 | 2.833 | 1.217 | 3 | 1.703 | 2.747 | 2.515
Cs | <0.062 | <0.067 | <0.072 | <0.102 | <0.092 | <0.098 | <0.089 | <0.081 | <0.071 | <0.071 | <0.105 | <0.093 | <0.090 | <0.100 | <0.108 | <0.073 | <0.080 | <0.074 | <0.074 | <0.076 | <0.057 | <0.0183 | <0.0163 | 0.0191 | <0.0161 | <0.0147 | <0.0172 | <0.0188 | 0.0339 | <0.0193 | <0.0169 | <0.0229 | <0.0166 | 0.0162 | 0.062 | 0.115 | <0.0118 | <0.0093 | <0.0117 | <0.0115 | <0.0101 | <0.0102 | <0.0106 | <0.0113 | <0.0121 | <0.0133 | <0.0113 | <0.053 | <0.034 | <0.035 | <0.030 | <0.036 | <0.034 | <0.039 | <0.038 | <0.035 | <0.045 | <0.032 | <0.029 | <0.029 | <0.028 | <0.068 | <0.047 | <0.053 | <0.031 | <0.043 | <0.046
137Ba | 31.65 | 125.04 | 84.72 | 51.42 | 51.79 | 45.88 | 41.22 | 109.73 | 176.61 | 212.81 | 104.88 | 32.55 | 113.89 | 298.74 | 45.9 | 32.83 | 63.69 | 72.89 | 51.48 | 195.08 | 56.03 | 170.41 | 98.97 | 101.6 | 217.29 | 42.26 | 77.93 | 121.13 | 68.29 | 36.8 | 48.72 | 61.45 | 90.5 | 86.34 | 24.49 | 56.87 | 53.37 | 109.14 | 173.02 | 57.36 | 112.09 | 152.67 | 53.88 | 58.7 | 184.04 | 153.65 | 475.1 | 35.8 | 24.42 | 10.36 | 7.42 | 7.86 | 5.98 | 45.73 | 7.74 | 7.89 | 67 | 26.27 | 5.95 | 11.77 | 11.22 | 6.4 | 10.73 | 12.2 | 12.9 | 7.56 | 11.14
138Ba | 34.32 | 125.26 | 89.32 | 56.25 | 54.16 | 49.23 | 44.11 | 104.58 | 175.15 | 208.02 | 108.15 | 35.13 | 115.5 | 452.1 | 50.17 | 35.07 | 64.72 | 75.45 | 51.56 | 190.23 | 59.26 | 172.22 | 95.57 | 102.76 | 212.31 | 46.43 | 78.76 | 127.48 | 71.59 | 42.54 | 52.85 | 62.65 | 91.65 | 85.77 | 28.93 | 63.29 | 53.99 | 111.96 | 174.49 | 59.78 | 115.18 | 153.71 | 54.54 | 60.35 | 181.02 | 152.23 | 367.84 | 43.52 | 25.6 | 17.59 | 14.13 | 15.16 | 12.96 | 49.25 | 16.43 | 15.67 | 80.61 | 32.47 | 11.14 | 14.13 | 16.74 | 17.07 | 16.15 | 20.1 | 19.78 | 15.52 | 19.28
La | 15.93 | 16.21 | 14.74 | 35.23 | 19.17 | 32.52 | 20.29 | 15.63 | 12.79 | 12.01 | 17.06 | 18.9 | 19.7 | 18.75 | 26.36 | 13.3 | 14.91 | 13.43 | 14.73 | 15.06 | 14.13 | 25.56 | 23.46 | 27.35 | 19.29 | 20.59 | 22.08 | 27.37 | 35.59 | 35.79 | 28.26 | 24.03 | 18.85 | 18.73 | 37.97 | 30.96 | 28.58 | 21.33 | 30.83 | 17.49 | 16.81 | 16.18 | 14.03 | 14.55 | 26.4 | 27.06 | 18.54 | 306.54 | 116.77 | 413.38 | 372.32 | 378.13 | 363.6 | 548.83 | 423.69 | 452.33 | 565.47 | 332.45 | 226.96 | 194.07 | 252.23 | 459.32 | 273.25 | 312.16 | 243.48 | 403.95 | 451.17
Ce | 998.17 | 1014.01 | 935.29 | 1616.29 | 1151.66 | 1494.63 | 1134.97 | 886.36 | 778.41 | 756.26 | 1091.09 | 1113.52 | 1038.55 | 1073.88 | 1357.99 | 871.15 | 957.63 | 866.22 | 935.59 | 947.53 | 903.38 | 1351.86 | 1279.09 | 1384.56 | 1074.62 | 1157.7 | 1244.58 | 1455.62 | 1717.3 | 1776.94 | 1487 | 1316.64 | 1082.02 | 1055.82 | 1679.12 | 1510.93 | 1524.82 | 1283.78 | 1611.85 | 1178.38 | 1162.63 | 1127.15 | 1004.6 | 1072.21 | 1458.79 | 1466.7 | 1174.06 | 2904.22 | 508.96 | 2653.9 | 2389.02 | 2626.18 | 2455.01 | 3303.42 | 3034.51 | 2726.39 | 3187.85 | 2093.68 | 1846.11 | 846.27 | 1941.94 | 3660.93 | 1828.03 | 2785.32 | 1902.59 | 2823.75 | 2933.29
Pr | 250.74 | 258.45 | 249.89 | 340.98 | 283.94 | 329.53 | 274.67 | 241.18 | 214.74 | 202.33 | 286.9 | 273.5 | 269.35 | 275.54 | 315.43 | 226.68 | 257.71 | 232.59 | 250.09 | 248.9 | 243.29 | 312.9 | 301.06 | 321.05 | 269.19 | 276.76 | 297.33 | 323.78 | 365.07 | 385.82 | 335.28 | 315.47 | 264.93 | 265.26 | 354.92 | 350.5 | 323.95 | 278.71 | 339.92 | 286.54 | 281.83 | 280.16 | 254.86 | 270.07 | 330.27 | 331.6 | 281.68 | 594.83 | 98.43 | 481.65 | 435.05 | 502.22 | 475.13 | 587.71 | 592.57 | 502.68 | 569.51 | 388.36 | 370.92 | 173.14 | 385.7 | 756.64 | 393.31 | 583.29 | 378.65 | 558.13 | 562.82
Nd | 1388.44 | 1408.28 | 1382.12 | 1715.96 | 1521.95 | 1695.34 | 1456.85 | 1374.22 | 1206.12 | 1120.08 | 1604.67 | 1461.22 | 1458.7 | 1504.07 | 1628.42 | 1241.73 | 1435.19 | 1257.89 | 1370.81 | 1364.5 | 1352.19 | 1589.15 | 1597.1 | 1648.78 | 1446.49 | 1447.62 | 1583.22 | 1685.33 | 1868.35 | 1955.45 | 1735.8 | 1664.77 | 1437.88 | 1450.5 | 1779.29 | 1800.14 | 1694.43 | 1524.63 | 1749.82 | 1538.47 | 1526.34 | 1543.77 | 1380.9 | 1448.9 | 1730.76 | 1737.9 | 1519.76 | 4419.01 | 747.62 | 3434.61 | 3112.1 | 3517.21 | 3225.36 | 4015.91 | 4073.26 | 3372.26 | 3936.57 | 2621.72 | 2660.25 | 1408.34 | 2683.06 | 5371.74 | 2832.82 | 4339.6 | 2787.67 | 3828.76 | 4113.63
Sm | 363.59 | 376.52 | 360.96 | 406.39 | 389.4 | 406.2 | 360.82 | 383.3 | 322.74 | 302.42 | 423.96 | 385.99 | 386.32 | 398.5 | 394.96 | 328.08 | 390.13 | 334.72 | 365.24 | 359.01 | 363.73 | 429.91 | 445.54 | 446.21 | 416.36 | 401.44 | 440.93 | 449.48 | 470.67 | 493.93 | 454.53 | 475.21 | 426.36 | 424.15 | 456.15 | 485.18 | 404.68 | 385.95 | 418.28 | 395.46 | 389.44 | 409.91 | 365.9 | 380.48 | 428.21 | 434.61 | 388.55 | 2495.04 | 499.44 | 1878.33 | 1699.33 | 1786.21 | 1600.4 | 2120.03 | 2006.82 | 1700.99 | 2123.5 | 1395.44 | 1412.77 | 954.66 | 1301.11 | 2637.05 | 1553.57 | 2394.06 | 1454.82 | 1877.75 | 2221.72
Eu | 120.73 | 126.86 | 120.03 | 130.88 | 129.59 | 132.47 | 119.05 | 128.43 | 111.25 | 104.48 | 140.12 | 127.08 | 129.28 | 132.33 | 130.09 | 110.01 | 129.73 | 112.61 | 120.52 | 120.85 | 121.11 | 129.26 | 136.06 | 137.01 | 128.13 | 124.02 | 134.15 | 137.79 | 144 | 149.79 | 136.95 | 144.7 | 129.56 | 130.68 | 135.13 | 144.38 | 132.3 | 126.95 | 137.47 | 130.26 | 128.76 | 134.62 | 121.14 | 126.32 | 139.3 | 140.92 | 129.12 | 474.01 | 103.95 | 349.45 | 316.39 | 344.75 | 301.27 | 391.67 | 378.98 | 316.5 | 393.16 | 275.22 | 258.89 | 166.83 | 239.16 | 462.62 | 292.74 | 451.94 | 272.67 | 340.68 | 416.47
Gd | 358.41 | 379.1 | 347.13 | 384.41 | 371.48 | 393.71 | 351.97 | 393.92 | 337.56 | 313.73 | 417.46 | 377.93 | 393.03 | 407.64 | 396.98 | 329.99 | 390.47 | 332.19 | 358.41 | 362.01 | 358.2 | 412.84 | 432.8 | 435.57 | 414.16 | 397.03 | 427.52 | 436.86 | 454.05 | 473.55 | 439.97 | 465.69 | 424.15 | 421.52 | 438.94 | 464.54 | 389.09 | 377.33 | 400.54 | 383.1 | 375.02 | 401.54 | 354.05 | 364.36 | 414.11 | 411.35 | 373.14 | 2676.6 | 602.3 | 1907.06 | 1684.03 | 1828.57 | 1642.34 | 1988.66 | 1958.9 | 1685.55 | 2062.74 | 1406.34 | 1418.59 | 1014.89 | 1252.55 | 2646.32 | 1630.15 | 2462.24 | 1489.18 | 1816.48 | 2337.88
Tb | 76.16 | 80.43 | 74.72 | 81.52 | 79.65 | 82.36 | 73.81 | 81.26 | 71.27 | 65.71 | 88.97 | 80.85 | 81.52 | 83.56 | 81.94 | 70.05 | 82.62 | 70.52 | 75.68 | 76.88 | 75.47 | 87.41 | 92.47 | 91.84 | 88.2 | 84.29 | 91.55 | 92.48 | 94.2 | 98.74 | 91.8 | 99.07 | 91.35 | 91.39 | 90.26 | 97.98 | 82.24 | 78.99 | 85.37 | 81.62 | 80.34 | 84.98 | 75.75 | 79.32 | 86.62 | 85.76 | 78.75 | 596.71 | 137.23 | 422.05 | 371.3 | 396.84 | 352.32 | 444.86 | 434.38 | 370.84 | 459.28 | 319.32 | 305.27 | 217.45 | 264.75 | 564.84 | 351.38 | 552.38 | 324.74 | 396.84 | 510.57
Dy | 502.74 | 533.07 | 496.55 | 529.65 | 518.66 | 539.73 | 494.81 | 547.97 | 486.25 | 446.91 | 591.39 | 535.01 | 550.75 | 552.65 | 547.87 | 476.75 | 557.48 | 475.86 | 512.9 | 511.06 | 507.73 | 586.62 | 615.51 | 615.79 | 600.54 | 564.81 | 619.53 | 617.86 | 626.53 | 651.52 | 614.49 | 666.44 | 626.17 | 622.99 | 600.33 | 648.11 | 549.28 | 533.29 | 566.55 | 555.5 | 551.07 | 583.14 | 516.86 | 532.97 | 584.25 | 563 | 525.26 | 3864.82 | 920.16 | 2714.14 | 2312.49 | 2521.85 | 2191.7 | 2681.25 | 2609.83 | 2229.96 | 2808.56 | 1966.01 | 1869.26 | 1357.75 | 1587.44 | 3596.05 | 2248.29 | 3411.81 | 1999.2 | 2410.85 | 3279.61
Ho | 98.93 | 105.45 | 98.91 | 104.13 | 100.99 | 104.96 | 97.61 | 109.73 | 98.1 | 89.65 | 116.81 | 106.73 | 110.55 | 112.47 | 109.7 | 94.3 | 112.35 | 96.74 | 102.61 | 102.97 | 101.83 | 118.34 | 122.8 | 123.01 | 119.99 | 112.76 | 123.25 | 121.53 | 124.07 | 127.8 | 120.8 | 132.97 | 125.41 | 123.34 | 118.31 | 127.58 | 110.7 | 106.75 | 113.38 | 110.23 | 109.77 | 116.63 | 103.38 | 106 | 115.51 | 112.03 | 101.63 | 756.02 | 161.8 | 511.89 | 449.79 | 489.56 | 447.76 | 525.1 | 525.83 | 445.23 | 548.57 | 387.08 | 369.61 | 255.14 | 316.25 | 688.12 | 410.73 | 672.94 | 407.33 | 478.57 | 632.18
Er | 280.42 | 294.36 | 272.3 | 284.14 | 280.03 | 290.55 | 270.95 | 313.63 | 281.65 | 249.05 | 328.33 | 296.65 | 302.78 | 307.55 | 307.47 | 262.28 | 313.43 | 266.78 | 287.18 | 285.99 | 284.98 | 328.44 | 342.16 | 339.84 | 335.32 | 311.46 | 341.16 | 334.84 | 342.27 | 351.29 | 332.2 | 369.85 | 349.64 | 345.83 | 329.37 | 357.02 | 312.45 | 298.09 | 316.49 | 303.79 | 302.75 | 320.73 | 283.03 | 293 | 316.59 | 302.71 | 277.09 | 1872.8 | 363.9 | 1285.3 | 1093.18 | 1225.55 | 1095.34 | 1293.75 | 1286.09 | 1084.67 | 1341.38 | 943.17 | 897.27 | 574.87 | 739.55 | 1625.42 | 941.23 | 1646.66 | 962.72 | 1148.16 | 1565.45
Tm | 43.58 | 45.79 | 43.29 | 44.46 | 43.7 | 45.14 | 42.45 | 47.76 | 43.81 | 39.23 | 51.05 | 46.09 | 47.66 | 48.31 | 48.25 | 41.12 | 48.74 | 41.95 | 44.72 | 44.85 | 44.64 | 51.63 | 53.4 | 53.11 | 52.57 | 48.86 | 53.72 | 52.8 | 53.21 | 55.01 | 52.24 | 57.72 | 54.79 | 54.42 | 51.37 | 55.38 | 48.76 | 45.56 | 49.57 | 47.47 | 47.41 | 49.69 | 44.27 | 45.74 | 49.12 | 46.44 | 43.08 | 234.51 | 41.55 | 160.82 | 135.71 | 153.56 | 135.77 | 157.16 | 160.11 | 130.98 | 164.31 | 117.27 | 109.7 | 64.27 | 90.37 | 199.47 | 113.65 | 205.29 | 120.92 | 141.14 | 195.8
Yb | 344.57 | 355.78 | 337.65 | 345.49 | 344.12 | 344.99 | 325.05 | 364.14 | 330.51 | 306.96 | 388.69 | 348.98 | 358.26 | 363.54 | 361.47 | 309.51 | 372.2 | 317.51 | 341.34 | 342.85 | 341.39 | 386.06 | 400.22 | 395.4 | 398.15 | 370.95 | 403.12 | 395.04 | 393.27 | 408.9 | 388.3 | 426.19 | 408.34 | 403.84 | 373.05 | 410.81 | 359.64 | 340.87 | 366.95 | 357.5 | 357 | 373.19 | 330.92 | 340.23 | 362.63 | 346.73 | 324.05 | 1400.27 | 233 | 950.84 | 797.84 | 927.96 | 811.37 | 949.3 | 957.7 | 764.72 | 1017.73 | 724.89 | 655.61 | 375.61 | 548.91 | 1187.71 | 680.21 | 1264.96 | 752.35 | 867.06 | 1183.18
Lu | 32.56 | 33.54 | 33.06 | 33.28 | 33.33 | 33.62 | 31.05 | 35.97 | 31.8 | 30.83 | 38.25 | 33.82 | 35.25 | 36.02 | 35.37 | 30.51 | 36.23 | 31.34 | 33.81 | 33.46 | 33.31 | 40.62 | 42.06 | 41.15 | 41 | 38.43 | 42.12 | 41.25 | 41.55 | 43.04 | 40.69 | 45.5 | 43.11 | 42.33 | 39.76 | 44.4 | 37.6 | 35.49 | 38.24 | 36.57 | 37.21 | 38.6 | 34.43 | 35.95 | 38.14 | 35.01 | 32.71 | 101.14 | 15.08 | 71.58 | 57.44 | 71.14 | 63.01 | 67.7 | 76.84 | 58.23 | 76.63 | 52.65 | 50.03 | 23.09 | 40.44 | 89.72 | 46.09 | 90.59 | 53.51 | 62.71 | 88.26
Hf | 2.97 | 2.89 | 2.75 | 2.48 | 2.59 | 2.62 | 2.45 | 4.78 | 3.09 | 2.86 | 2.79 | 3.2 | 4.13 | 4.45 | 4.26 | 3.66 | 4.89 | 3.94 | 4.06 | 4.13 | 4.46 | 13.91 | 14.24 | 14.34 | 12.67 | 12.13 | 13.34 | 14.38 | 16.4 | 16.91 | 14.57 | 15.39 | 12.47 | 12.64 | 17.62 | 18.05 | 2.93 | 2.72 | 2.7 | 3.27 | 3.26 | 3.56 | 3.16 | 3.24 | 4.17 | 5.64 | 5.06 | 14.8 | 0.245 | 9.61 | 5.38 | 8.69 | 6.97 | 6.03 | 3.62 | 6.32 | 10.66 | 7.03 | 8.33 | 0.461 | 5.55 | 13.75 | 4.22 | 13.86 | 7 | 7.62 | 10.73
Ta | 0.0207 | 0.0115 | <0.0078 | 0.0103 | 0.0117 | 0.0084 | <0.0093 | 0.0129 | 0.0068 | <0.0075 | 0.0113 | 0.0173 | <0.0093 | <0.0112 | <0.0105 | 0.0162 | 0.0174 | 0.0153 | 0.0158 | 0.0267 | 0.0197 | 0.0193 | 0.056 | 0.0855 | 0.0263 | 0.0321 | 0.0391 | 0.0726 | 0.092 | 0.0951 | 0.0743 | 0.0378 | 0.0169 | 0.0267 | 0.0908 | 0.0708 | 0.0097 | <0.0054 | 0.0066 | <0.0056 | 0.011 | 0.0078 | <0.0056 | 0.0095 | <0.0058 | 0.0398 | 0.082 | 0.748 | 0.0125 | 0.651 | 0.67 | 0.832 | 0.822 | 1.281 | 0.885 | 0.708 | 0.86 | 0.914 | 0.569 | 0.0501 | 0.562 | 1.325 | 0.288 | 0.787 | 0.6 | 0.952 | 0.69
Pb | 116.64 | 128.62 | 117.83 | 262.36 | 151.74 | 252.79 | 171.83 | 247.88 | 126.57 | 90.45 | 120.29 | 151.81 | 236.89 | 189 | 192.89 | 112.73 | 113.72 | 101.15 | 160.74 | 114.16 | 103.51 | 424.54 | 421.36 | 342.36 | 312.06 | 360.87 | 224.38 | 372.41 | 516.42 | 325.58 | 1550.22 | 282.46 | 301.91 | 282.14 | 325.5 | 387.52 | 359.65 | 242.67 | 284.33 | 131.79 | 123.34 | 96.2 | 156.98 | 142.06 | 312.56 | 313.4 | 153.2 | 419.1 | 279.91 | 492.3 | 105.22 | 331.17 | 220.6 | 228.28 | 222.62 | 301.51 | 246.09 | 286.66 | 170.51 | 631.01 | 183.75 | 305.07 | 551.37 | 348.66 | 115.18 | 260.26 | 195.22
Th | 0.223 | 0.276 | 0.301 | 0.253 | 0.311 | 0.267 | 0.286 | 0.359 | 0.206 | 0.251 | 0.252 | 0.261 | 0.253 | 0.274 | 0.256 | 0.249 | 0.311 | 0.317 | 0.475 | 0.287 | 0.3 | 0.518 | 1.225 | 1.536 | 0.701 | 0.732 | 0.877 | 1.649 | 2.459 | 2.205 | 3.29 | 0.915 | 3.34 | 2.393 | 1.505 | 1.283 | 0.228 | 0.203 | 0.23 | 0.228 | 0.238 | 0.275 | 0.335 | 0.306 | 0.358 | 0.448 | 1.01 | 2645.65 | 1920.44 | 1393.39 | 847.41 | 2589.91 | 1980.26 | 1151.21 | 1054.15 | 679.6 | 1687.1 | 2203.16 | 763.65 | 2662.32 | 1689.8 | 1386.23 | 2328.73 | 1650.65 | 563.52 | 968.58 | 1400.84
Laser ablation locations shown by white triangles. (Circles are EPMA locations).
Section 1 | 1-6: Section 2; 1-13: Section 3

## SM-ICP-MS
Concentrations (μg g-1) measured via SM-ICP-MS for sections 1, 2, and 3 of the HJ uraninite
Element | 1-1 | 1-2 | 2-1 | 2-2 | 3-1 | 3-2
La | 79.9996 | 90.133 | 106.9564 | 86.214 | 64.0594 | 71.1463
Ce | 1317.8548 | 1302.5427 | 1108.2855 | 1087.5586 | 1444.2328 | 1458.3003
Pr | 301.8967 | 300.6004 | 262.3285 | 260.879 | 322.4799 | 325.0364
Nd | 1571.1569 | 1492.7303 | 1313.6066 | 1276.5112 | 1512.2762 | 1539.0043
Sm | 369.1777 | 365.2345 | 373.0573 | 370.8569 | 396.7457 | 393.7338
Eu | 127.1962 | 124.8974 | 115.9152 | 118.996 | 136.6763 | 136.5926
Gd | 353.0717 | 342.9739 | 328.8792 | 338.7666 | 359.6521 | 378.1112
Tb | 69.1241 | 69.2984 | 70.3028 | 72.5753 | 75.1098 | 77.7443
Dy | 507.1713 | 503.2831 | 489.713 | 499.2244 | 523.0661 | 536.8013
Ho | 92.7775 | 92.7928 | 92.3264 | 94.25 | 99.0117 | 100.6542
Er | 271.4938 | 266.7449 | 269.058 | 278.0154 | 289.8761 | 293.5722
Tm | 41.1147 | 41.6983 | 41.1181 | 42.3464 | 43.5552 | 43.9301
Yb | 291.8403 | 282.08 | 280.4346 | 289.5018 | 310.7875 | 296.0877
Lu | 31.0149 | 30.5244 | 31.219 | 31.6153 | 33.0769 | 33.192

## U Isotopes
U isotopes for HJ uraninite, mass bias corrected, average of 2 replicates
Section | 238U/235U | 2SD | 234U/238U | 2SD | 234U/235U | 2SD | 235U/238U | 2SD
1 | 138.0095 | 0.17873 | 5.4615e-05 | 1.1317e-06 | 0.0075384 | 0.00013662 | 0.0072459 | 9.384e-06
2 | 138.0409 | 0.23833 | 5.5611e-05 | 4.0108e-06 | 0.0076766 | 0.00056729 | 0.0072442 | 1.2507e-05
3 | 138.048 | 0.10458 | 5.5315e-05 | 1.8554e-06 | 0.0076357 | 0.00024846 | 0.0072439 | 5.4875e-06

## ICP-MS Analytical Settings
LA-ICP-MS Settings |  | SM-ICP-MS Settings
Laser brand | New Wave Research UP213 | ICP-MS | Nu Instruments Attom
Laser type | Nd:YAG | Resolution mode | Medium
Wavelength | 213 nm | Calibration | Standard addition after Jenner et al. 1990
Pulse duration | 5 ns | Scanned masses | 139La, 140Ce, 141Pr, 145Nd, 147Sm, 151Eu, 157Gd, 159Tb, 163Dy, 165Ho, 167Er, 169Tm, 173Yb, 175Lu
Spot size | 30 µm | MC-ICP-MS Settings
Repetition rate | 5 Hz | ICP-MS | Nu Instruments Plasma II
Fluence | 10-12 J cm-2 | Resolution mode | Low
Resolution mode | Low | Calibration | Standard-sample bracketing with CRM 112-A
ICP-MS | Thermo Scientific Element 2 | Scanned masses | 234U, 235U, 238U
Scan mode | E-scan | Bracketing standard | CRM 112-A
Scanned masses | 43Ca, 45Sc, 47Ti, 53Cr, 55Mn, 59Co, 60Ni, 63Cu, 64Zn, 69Ga, 85Rb, 86Sr, 88Sr, 89Y, 90Zr, 93Nb, 133Cs, 137Ba, 138Ba, 139La, 140Ce, 141Pr, 146Nd, 147Sm, 153Eu, 160Gd, 159Tb, 163Dy, 165Ho, 166Er, 169Tm, 172Yb, 175Lu, 180Hf, 181Ta, 208Pb, 232Th, 235U
External standard | NIST SRM 610
Data reduction software | GLITTER©

## Additional Samples
Other uraninite samples were investigated but found to be too heterogeneous to serve as RMs. These include samples from the following locations as well as those described in the publications listed below:
Great Bear Lake, NWT, Canada
Grants, NM, USA
Moonlight Mine, AZ, USA
Seven Mile Canyon, UT, USA
Happy Jack Mine, UT, USA (alternate location within mine)
McKinley County, NM, USA
Red Canyon, UT, USA
Balboni E., Simonetti A., Spano T., Cook N.D. and Burns P.C. (2017). Rare-earth element fractionation in uranium ore and its U(VI) alteration minerals. Applied Geochemistry, 87, 84-92.
Lewis S.R., Simonetti A., Corcoran L., Spano T.L., Chung B.W., Teslich N.E. and Burns P.C. (2018). Characterization of uraninite using a FIB-SEM approach and its implications for LA-ICP-MS analyses. Journal of Radioanalytical and Nuclear Chemistry, 318, 1389-1400.
Spano T.L., Simonetti A., Wheeler T., Carpenter G., Freet D., Balboni E., Dorais C. and Burns P.C. (2017). A novel nuclear forensic tool involving deposit type normalized rare earth element signatures. Terra Nova, 29, 294-305.
Spano T.L., Simonetti A., Balboni E., Dorais C. and Burns P.C. (2017). Trace element and U isotope analysis of uraninite and ore concentrate: Applications for nuclear forensic investigations. Applied Geochemistry, 84, 277-285.